## Sheet2
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 2204007130 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 31/10/2023
Time: | 11:43:34
System |  |  |  | PPMP62827
User |  |  |  | AD\pazrjk
Plate |  |  |  | Thermo Fisher Scientific-Nunclon 96 Flat Bottom Black Polystyrene Catalog No.: 137101/137103/237105/237107/237108/437111/437112 [NUN96fb.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 485 | nm
Emission Wavelength |  |  |  | 530 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 90 | Optimal (100%)
Number of Flashes |  |  |  | 10
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Manual) |  |  |  | 19700 | µm
Start Time: | 31/10/2023 11:44:06
Temperature: 22.5 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 43823 | 41889 | 40627 | 168 | 162 | 174 | 26278 | 26379 | 25635 | 1778 | 1605 | 1234
B | 26953 | 21519 | 23425 | 23540 | 26026 | 27919 | 27367 | 26952 | 26513 | 19851 | 21184 | 21166
C | 13739 | 13517 | 13253 | 15990 | 17270 | 17817 | 15861 | 15057 | 14579 | 3421 | 2503 | 2553
D | 4889 | 5142 | 4975 | 187 | 2301 | 2456 | 1483 | 655 | 1640 | 323 | 331 | 310
E | 1548 | 1535 | 1513 | 366 | 616 | 618 | 298 | 307 | 331 | 205 | 183 | 189
F | 647 | 657 | 642 | 325 | 303 | 319 | 182 | 183 | 209 | 169 | 165 | 164
G | 329 | 337 | 338 | 277 | 215 | 229 | 156 | 160 | 159 | 195 | 150 | 147
H | 197 | 204 | 158 | 174 | 161 | 163 | 158 | 174 | 152 | 152 | 158 | 153
[13 empty] | 100% | 42113
[13 empty] | 0% | 168
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
N/P | 43823 | 41889 | 40627 | 168 | 162 | 174 | 26278 | 26379 | 25635 | 1778 | 1605 | 1234 | N/P | TETA-2Phe |  |  | TETA-2L1 |  |  | TETA-3L1 |  |  | TETA-2L2 |  |  | TETA-3L2
1 | 26953 | 21519 | 23425 | 23540 | 26026 | 27919 | 27367 | 26952 | 26513 | 19851 | 21184 | 21166 | 1 | 36.1426 | 49.0976 | 44.5536 | 44.2794 | 38.3526 | 33.8396 | 35.1556 | 36.145 | 37.1916 | 53.0743 | 49.8963 | 49.9392 | 37.7518 | 37.511 | 39.2848
2 | 13739 | 13517 | 13253 | 15990 | 17270 | 17817 | 15861 | 15057 | 14579 | 3421 | 2503 | 2553 | 2 | 67.6457 | 68.175 | 68.8044 | 62.2792 | 59.2276 | 57.9235 | 62.5867 | 64.5035 | 65.6431 | 92.2446 | 94.4332 | 94.314 | 96.1616 | 96.5741 | 97.4586
4 | 4889 | 5142 | 4975 | 187 | 2301 | 2456 | 1483 | 655 | 1640 | 323 | 331 | 310 | 4 | 88.7448 | 88.1416 | 88.5398 | 99.9547 | 94.9148 | 94.5452 | 96.8649 | 98.839 | 96.4906 | 99.6305 | 99.6114 | 99.6615 | 99.9309 | 99.9142 | 100.0238
8 | 1548 | 1535 | 1513 | 366 | 616 | 618 | 298 | 307 | 331 | 205 | 183 | 189 | 8 | 96.71 | 96.741 | 96.7934 | 99.528 | 98.9319 | 98.9272 | 99.6901 | 99.6686 | 99.6114 | 99.9118 | 99.9642 | 99.9499 | 99.9857 | 100.0167 | 100.0119
16 | 647 | 657 | 642 | 325 | 303 | 319 | 182 | 183 | 209 | 169 | 165 | 164 | 16 | 98.858 | 98.8342 | 98.8699 | 99.6257 | 99.6781 | 99.64 | 99.9666 | 99.9642 | 99.9023 | 99.9976 | 100.0072 | 100.0095 | 100.0238 | 99.9857 | 100.0381
32 | 329 | 337 | 338 | 277 | 215 | 229 | 156 | 160 | 159 | 195 | 150 | 147 | 32 | 99.6162 | 99.5971 | 99.5947 | 99.7401 | 99.8879 | 99.8546 | 100.0286 | 100.0191 | 100.0215 | 99.9356 | 100.0429 | 100.0501 | 100.0381 | 100.0238 | 100.0358
| 197 | 204 | 158 | 174 | 161 | 163 | 158 | 174 | 152 | 152 | 158 | 153
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
N/P | 1 mg/mL (100%) |  |  | 0 mg/mL (0%) |  |  | TETA-3L2, NP 1 |  |  | TETA-3L2, NP 2
1 | TETA-2Phe |  |  | TETA-2L1 |  |  | TETA-3L1 |  |  | TETA-2L2
2
4
8
16
32
| TETA-3L2, NP 4 |  |  | TETA-3L2, NP 8 |  |  | TETA-3L2, NP 16 |  |  | TETA-3L2, NP 32
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) INB, XE-1000 728317-J 09/14 (Mar 28 2018/16.41.26) INA, XE-1000 728317-J 09/14 (Mar 28 2018/16.41.26) CUV, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) LUM, V_2.20_02/2015_LUMINESCENCE (Feb 24 2015/16.09.02) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)