Mass spectrometry method development collection

Title: Molecular orientation and stratification revealed in RNA-lipid nanoparticles using Cryogenic Orbitrap Secondary Ion Mass Spectrometry (Cryo-OrbiSIMS)

Anna M Kotowska1, Michael Fay2, Julie A Watts2, Ian Gilmore6, David Scurr1, Alaina Howe5, Vladimir Capka5, Corey Perez5, Devin Doud5, Siddharth Patel5, Mark Umbarger5, Robert Langer3,4, Morgan R Alexander1

- School of Pharmacy, University of Nottingham, Nottingham, UK.

- Nanoscale and Microscale Research Centre, University of Nottingham, Nottingham NG7 2QL, UK.

- Department of Chemical Engineering, Massachusetts Institute of Technology, Cambridge, MA, USA.

- Koch Institute for Integrative Cancer Research, Massachusetts Institute of Technology, Cambridge, MA, USA.

- Sail Biomedicines, Cambridge, MA, USA.

- National Physical Laboratory, Hampton Rd, Teddington TW11 0LW, UK.

Abstract

Lipid nanoparticle RNA (LNP-RNA) formulations are used for the delivery of vaccines and other therapies. RNA molecules are encapsulated within their interior through electrostatic interactions with positively charged lipids. The identity of the lipids that present at their surface play a role in how they interact with and are perceived by the body and their resultant potency. We use a model formulation to develop cryogenic sample preparation for molecular depth profiling Orbitrap secondary ion mass spectrometry (Cryo-OrbiSIMS) preceded by morphological characterisation using transmission electron microscopy (TEM). It is found that the depth distribution of individual lipid components is revealed relative to the surface and the RNA cargo defining the core. A preferential lipid orientation can be determined for the 1,2-Dimyristoyl-glycero-3-methox-polyethylene glycol 2000 (DMG-PEG2k) molecule, by comparing the profiles of PEG with DMG fragments. PEG fragments are found at the LNP surface, while the DMG fragments are deeper, coincident with RNA ions located in the core, in agreement with established models of LNPs. This laboratory-based de novo analysis technique requires no labelling, providing advantages over large facility neutron scattering characterisation.

Graphical abstract

Introduction

Billions of doses of mRNA-loaded lipid nanoparticle (LNP) vaccines represent a spectacular recent example of the utility of therapeutic nanomaterials. 1 The molecules presented on the surface of such LNPs influence how the material interacts with the environment inside the body, 2 including which biomolecules it adsorbs to form the biomolecular corona. 3 This biointerface is critical in determining nanoparticle trafficking, potency and immunological reaction, yet uncertainties surrounding LNP structural organisation, such as the location of ionisable lipids either in the core 4,5 or in the exterior shell, remain. 6,7,8,9  Such structural details likely have implications on nanoparticle behaviour, including the critical stage of endosomal escape in transfection, for which efficiencies are estimated to be as low as 2%.10,11 To provide a method that can address these uncertainties, we here show that molecular depth profiling of LNPs is possible using cryogenic OrbiTrapTM secondary ion mass spectrometry (Cryo-OrbiSIMS). We find this laboratory-based direct analysis method can identity the molecular structure of the LNP surface, revealing the relative depths of lipid and RNA components. Furthermore, the orientation of certain molecules can even be discerned where fragments resulting from different portions of the molecule are detected. This information relies on retention of the native hydrated structure in ice within the vacuum of the Cryo-OrbiSIMS instrument, verified by analysis using transmission electron microscope (TEM) on the same sample.

Synthetic LNPs are commonly composed of four components; an ionizable lipid, a helper lipid, cholesterol and a poly(ethylene glycol)ylated (PEG) lipid. Ionisable lipids interact electrostatically with the negatively charged mRNA facilitating its encapsulation within the LNP. The also enable endosomal escape by appropriate pKa choice. Helper lipids, such as the phospholipids distearoylphosphatidylcholine (DSPC) and dioleoylphosphatidylethanolamine (DOPE), contribute to the structural integrity and stability of LNPs. Cholesterol is incorporated into LNPs to modulate their fluidity and rigidity, enhancing particle stability and membrane fusion capabilities and also helps maintain the structural integrity of LNPs, allowing for delivery and release of mRNA into target cells. The inclusion of PEG-lipids on the LNP surface contributes to both formulation stability, 11  and the 'stealth' properties of the nanoparticles, 5,12 with longer fatty acids allowing them to circulate in the bloodstream longer and increasing the chances of reaching their target cells whilst shorter fatty acids are shed faster enabling the lipid surface to be exposed and absorb the serum proteins. 13

Study of the structural, compositional, and functional aspects of LNPs for drug delivery has employed various analytical and imaging techniques. Cryo-EM allows for the observation of the nanoparticle morphology and internal structure, providing insights into the lipid organization, but without information on molecular identity. 14,15 Small-angle neutron scattering (SANS) combined with deuteration of components at large scale facilities has been used to quantify the lipid distribution at the surface LNPs using isotopic contrast variation. 5 Small-angle X-ray scattering (SAXS) using synchrotron sources, has been used to probe bulk phase structures. 16 DLS is used to rapidly measure the size distribution and polydispersity index of LNPs, offering insights into their homogeneity and stability. NMR spectroscopy provides information on the molecular structure, dynamics, and interactions within LNPs. 17 It can be used to study the composition of the lipid core, the conformation of PEG chains, and the interaction between PEG and other components of LNPs, however the structural analysis of LNPs is limited by its sensitivity. 18

Vacuum-based surface chemical analysis techniques such as X-ray photoelectron spectroscopy (XPS) or time of flight secondary ion mass spectrometry (ToF-SIMS) have the capability to directly analysis the nanoparticle surface to describe it in elemental or molecular terms respectively. A recent study reported the possibility of evaluating the surface chemistry of lipid nanoparticles using XPS, necessitating cryogenic conditions, including the detection of PEG on the surface.19 Extracellular lipid vesicles can be imaged using ToF-SIMS, however the chemical information obtained from the spectra is not sufficient to identify the different component molecules. 20   While depth profiling ToF-SIMS has previously been employed to characterize the internal structure of giant (10-30 µm) liposomes, it’s application toward depth-profiling of lipid particle molecular identification at the nanoscale has not been reported. 21 The development of OrbiSIMS addresses the limitations of ToF-SIMS in analysing high-mass biomolecules with high mass resolving power, whilst utilising gas clusters as an analysis beam provides improved detection of high molecule weight species and preserves molecular information when depth profiling. 22

Results

A cryogenic preparation protocol is developed to examine LNPs in vitreous ice sequentially on different areas of the same sample by TEM and then Cryo-OrbiSIMS. To test the capability of cryogenic OrbiSIMS profiling for the characterisation of the surface and subsurface chemistry of the LNPs, we analysed a model formulation comprising mRNA and 4 lipids; DMG-PEG2k and cholesterol, Dlin-MC3-DMA as the ionisable lipid and DSPC as the helper lipid (Table 1) formed using microfluids. The nanoparticle suspension in phosphate buffered saline (PBS) was deposited onto a plasma etched 10 nm thick amorphous carbon film with regularly spaced 2.4 µm diameter holes supported by copper TEM grids. These were blotted to modulate thickness before plunging into liquid ethane, after which they were transferred under liquid nitrogen for cryo-TEM imaging (-172°C). The particles were found by TEM to be relatively monodisperse, with their diameters distributed around a mean of 60-80 nm (Figure 1a) while with DLS they were estimated to be slightly larger with a mean diameter of 91 nm and a PDI of 0.03 (Figure S1).

Samples were transferred to the OrbiSIMS instrument under liquid nitrogen after TEM imaging for molecular depth profiling under cryogenic conditions (-170°C). An Ar3000+ gas cluster source was used both as a primary ion analysis and depth profiling beam. These measurements were undertaken on an ensemble of particles simultaneously over a 400 µm x 400 µm area since the lateral resolution of the analysis beam is not sufficient to resolve individual LNPs. Secondary ion assignments were guided by the individual component reference spectra (Figure S1), although in the case of this LNP formulation, all observed fragments were unique to one component, and definitively linked to the lipid molecular structures.

Cryo-OrbiSIMS molecular profiles: DMG-PEG

Since the exterior orientation of the PEG group is well established in the literature for LNPs containing DMG-PEG2k, we first examine the secondary ions from this molecule. Both DMG fragments and sodiated PEG2k fragment ions defined in the standards (Figure S1) were detected in the SIMS spectra and are plotted versus etch time and estimated depth in Figure 1b (replicates presented in Figure S4). The PEG ion fragments in the LNPs are all sodiated and of the form CxH2xOx/2+1Na+ (e.g. C23H46O12Na+, C24H48O13Na+) or CxH2xOx/2+2Na+ (e.g. C25H50O13Na+). The DMG anchor is detected as the whole molecular fragment: C31H59O4+, and by ions representing its FA14:0 moiety: C14H27O2+, C14H27O2Na+. A complete list is provided in Table S1.

There was a high intensity of PEG signal at the beginning of the analysis which decreased with etching, consistent with the expectation that the PEG portion of the molecule orients outwards for the LNPs. Notably the PEG profile, which is constructed from sodiated PEG ions, does not correlate with the sodium profile derived from the Na2Cl+ ion (Figure 1b). This suggests that the sodiated-PEG adduct ions are reflective of an ionic association in the hydrated sample which is an established phenomenon for PEG, 23 and that the intensity of these ions is reflective of the amount of PEG in the sample, rather than the Na2Cl+ distribution. Cationization of PEG through doping prior to SIMS analysis has previously been used to increase the secondary ion yield of oligomers.24  However, in our experiments the sodium from the PBS particle suspension has enhanced the yield of the PEG from the frozen sample and represents the actual hydrated sample chemistry rather than an artifact of preparation. Notably the PEG in the DMG-PEG2k component spectra in Figure S2 is also dominated by sodiated secondary ion adducts.

There is near zero intensity of the DMG molecules in the first analysis of the profile indicating that the fatty acid hydrocarbon chains are not present at the outermost surface, fitting the standard picture that they are oriented inwards. The PEG and FA14:0 profiles cross at approximately the middle of each ion intensity range at 4-7 nm depth. This measurement can provide an estimate of the thickness of the PEG2k shell. The value is similar to the SANS estimate of a 4 nm thick surface layer of PEG2k assumed to be in a mushroom conformation for similar PEG2k containing particles. 5 A direct comparative analysis of SANS on the same particles would be needed to make a more accurate comparison, but for the purpose of this proof-of-concept study, the similarity of the value from SIMS profiling to that from the literature SANS value provides a degree of cautious confidence in the secondary ion profile estimated depth values.

The adenine profile is presented to reveal the location of the mRNA molecules in Figure 1b. Guanine and cytosine are also seen to follow similar profiles, although uracil was not detected, most likely due to significantly lower secondary ion formation probability.  (Figure S3). The adenine ion intensity had near zero intensity at the surface, which increased at a constant rate until ca 8 nm depth when it levelled off. We interpret the depth at which the adenine signal levels off to approximate to the core of the particle. The observation of adenine intensity before 8 nm is reached, rather than a sharp step up from zero to the value in the core, is interpreted as reflecting a range of PEG overlayer coverage, with the thinner coverage being ablated by sputtering more quickly, whilst thicker areas taking longer to sputter through. This results in a the RNA intensity from the core increasing gradually over a range of depths. The DMG ions were equally seen to be revealed gradually, rather than as a step change, consistent with the PEG profile. Since this is an ensemble measurement, this range in PEG coverage may either be within individual particles, or it may represent different particles with different PEG thickness. It is not possible using this approach to determined which, although extending this beyond this initial proof-of-concept to more LNP formulations, the PEG thickness variability will likely be able to be correlated anticipated LNP structure, e.g. by varying the PEGylated lipid amount. The molecular orientation findings are summarised in a simplified schematic of the molecular structure for DMG-PEG2k in Figure 1c to illustrate the interpretation of the data, but this does not include the PEG thickness variation inferred from the profile breadth.

Figure 1 Comparison of the morphology (TEM) and chemical composition (OrbiSIMS). a) TEM of the LNP formulation with histograms of particle size. b) Cryo-OrbiSIMS depth profiles with cross sectional schematics of LNP component distribution. The intensity has been normalised to total ion count and the summed PEG ions are presented on secondary intensity scale for the depth profile for clarity. The secondary x axis presents depth estimated from comparison with organic standards. 31,33  Further replicates are included in Figure S4. c) simplified schematic of DMG-PEG2k to show the relative molecular orientations.

Ionisable lipid, helper lipid and Cholesterol

In Figure 2, we present profiles for the DSPC, Dlin-MC3-DMA, and Cholesterol lipid components. All DSPC fragments were seen to monotonically increase from the analysis of the outermost surface as profiling was undertaken, although not from zero intensity (Figure 2a). Adenine representing the RNA core also increased but begins at zero, suggesting that DSPC is present in the shell as well as the core. There is no clear orientation indicated by comparing the headgroup and fatty acid fragments which have similar profile shapes.

The profile of the ionisable lipid Dlin-MC3-DMA (Figure 2b) indicated that it was strongly represented at depths less than 3 nm where PEG is also present (< 8 nm), thereafter decreasing in intensity and recovering at depths greater than 6 nm. This may represent a propensity for surface segregation, or an association of Dlin-MC3-DMA with the PEG at the exterior, similar to the sodium ions in the PBS.

Examining the cholesterol ion profiles showed that the positively charged molecular ion after the loss of its hydroxyl group [M-OH]+ was seen to be most intense at the outer surface and decreased within the first 3 nm before reaching a relatively constant value in the interior of the particles (Figure 2c). This is consistent with cholesterol molecules sitting at the lipid surface with their hydroxyl groups oriented into the hydrophilic region occupied by the PEG, and would be consistent with there being areas with only a thin PEG coverage that allow this [M-OH]+ ion to be present in the earliest analyses.

The intact sodiated molecular ion [M+Na]+ appears to follow a profile which would be expected from an ion generated from the sum of the profiles containing sodium (Na2Cl+) and cholesterol [M-OH]+, at a low intensity at the outermost surface and increases to a plateau at approximately the same depth of 3 nm. Therefore, we interpret this as an analytical artifact rather than indicating the distribution of a molecular component in the LNP formulation. The cholesterol-Na adduct secondary ion may have formed at the surface during the collision cascade generating secondary ions from both of these species. This is in contrast to the PEG-sodium secondary ion adducts that we did not considered artefactual since it did not display a profile that could result from a combination of the profiles of other separate components (the sodium and the PEG).

We note that previous work on pure cholesterol samples prepared without water and without the complicating presence of salts, showed profile data of the molecule ion after losing the hydroxyl group [M-OH]+ at the outermost surface and the molecular ion [M-H]+ below it, consistent with an inward molecular orientation of the hydroxyl group.25 In this LNP system, we do not see an intense [M-H]+ ion, most likely due to adduct formation from sodium present in the PBS. While these two systems are very different cannot to be compared directly, the observation of the different of different cholesterol fragments suggesting molecular orientation in a model pure crystalline system is consistent with our observation of molecular orientation of the larger PMG-PEG2k using GCIB etching in this LNP system, suggesting that the orientation of small molecules such as cholesterol may be detectable in some systems.

Figure 2 OrbiSIMS depth profiles of different component fragment ions in Formulation 1. a) DSPC, b) Dlin-MC3-DMA and c) Cholesterol. The intensity has been normalised to total ion count and the ions: C5H15NO4P+, C44H89NO8P+, C43H80NO2+, C6H14NO2+, C27H45+, Na2Cl+ are presented on secondary intensity scale for clarity due to the difference in overall peak intensities.

Discussion

RNA-Lipid Nanoparticles

A state of the art in LNP structural determination method is small angle neutron scattering (SANS) with contrast-variation to give information on the 3D compositional distribution of different lipids and RNA. 5,26,27  Small angle X-ray scattering (SAXS) is used to probe the internal phase of LNPs and the interactions between RNA and ionisable lipids in the LNP core. 28  NMR can also provide useful insights. 17  The OrbiSIMS profiling capability presented here is complementary to these techniques. It is a de novo approach that does not require a preconceived model, knowledge of the identity of the lipids or deuterium labelling of components. These attributes would be particularly useful in the analysis of more complex organic nanoparticles. 29 This also makes it amenable to the analysis of real-world rather than labelled model formulations. The analysis throughput can be of the order of 20 profiles per hour, making this compatible with high throughput LNP formulation structure-activity investigations and discovery campaigns. 30

Recent advancements in artificial intelligence (AI) that connect lipid chemistry to in vivo performance can be enhanced by incorporating insights on surface structure and composition. 31  These advances in analytics and AI have the potential to facilitate LNP prediction based on formulation composition, which can subsequently inform in vivo efficacy and clinical effectiveness. Additionally, when paired with experimental biophysical models that examine the components involved in LNP escape from the endosome, this approach can provide a powerful framework for studying mechanisms that could lead to improved therapeutic formulations. 32

Gaining insight into the relative positions of each component within lipid nanoparticles (LNPs) is essential. Such knowledge can help clarify the intricate behaviour of LNPs and contribute to the design of more efficient and safer formulations. Furthermore, it can play a vital role in quality control during the scale-up of manufacturing processes, thereby enhancing the translation of LNPs from the laboratory to clinical applications. Examining the Dlin-MC3-DMA profile suggests that it is located at the surface, with molecular and fragment ions exhibiting a drop in signal intensity from the surface (Figure 2b). This is mirrored by fragments from all parts of the molecule, headgroup and fatty acid tails. Towards the core these same ion intensities begin to increase, suggesting that it is also at an elevated amount in the core of the particle. Notably, the depth in the profile where the intensity decrease is at the same position that the fatty acid intensities increase in the DMG PEG molecule, suggesting the presence of a potential hydrophobic barrier layer that could be envisaged as separating molecules like the ionisable lipid from the particle core. Molecules will partition based on their molecular properties, such as charge state and hydrophilicities, as exhibited at the pH of particle formulation in the formation of this hydrophobic barrier layer. As the molecular assembly of LNPs contributes to the determination of LNP structure and thereby function, further experimentation systematically varying the pH of formulation could enable the assessment of this hydrophobic barrier and its impact on molecular distribution.

Development of Cryo-OrbiSIMS

The biointerface at the surface of LNPs, comprising the surface lipids identified here and bioadsorbate molecules from the biological milieu in service, is thin and can therefore be regarded as an ideal opportunity for calibration of SIMS for quantification since the matrix effect may be controllable. It has been has shown that in model organic systems the matrix effect is insignificant for thickness < 5 nm. 33 Furthermore, undertaking the analysis in ice is analogous to implantation of oxygen in semiconductors where SIMS is routinely used to quantify dopants, by implanting oxygen to ‘normalise’ the matrix, providing opportunity for quantification in future. 34  Importantly, ice also increases the sensitivity to many species compared to dehydrated samples by up to x10,000. 35 Using standard mixtures to map the relationship between Orbitrap counts, secondary ion yield (counts/nm3) 36,37 and molar molecular concentrations, may allow biointerface molecular quantification, so long as sufficiently large sets of calibration data can be generated and appropriately analysed to produce useful sensitivity factors and to monitor for matrix effects. Control of salts and characterisation of their effects in such calibration datasets will be important since they are unavoidable for real-world samples in vitro and in vivo.

Depth profiles of organic delta layer standards show that the depth accuracy and resolution is dependent on the secondary ions used as well as the primary ions and their energy.38 Without standard samples comprising molecules from the LNPs, it is difficult to differentiate broadening due to sputter effects from actual concentration gradients representing component intermixing or heterogeneous particle chemistries. Therefore, the depth resolution expected on these spherical, real-world frozen-hydrated LNP samples is difficult to estimate. We have therefore been cautious in our interpretation of the LNP profiles. While standards for depth profile resolution estimation for LNP components are not readily available, these could be envisaged to be supported lipid bi-layers which would have the advantage of being flat, or single- and mixed-component micelles which would well represent the particulate geometry and approximate dimensions. This would allow the variability in PEG overlayer thickness inferred from the broadness of profiles seen herein to be ascribed to actual or experimental depth resolution limits.

In summary, we find that Cryo-OrbiSIMS depth profiling, offers a valuable methodology for label-free characterisation of the native LNP surface molecular structure in the frozen hydrated state. In addition to this high-fidelity insight into the surface molecular stratification of the individual components, the orientation of the PEG-lipid can be identified, consistent with models form neutron scattering of similar LNPs. It is anticipated that this approach will find application in the rapidly development RNA-LNP therapeutics space, as well as have utility more broadly in the organic biomaterials space where capturing native hydrated surface chemistry and characterising its molecular constituents and their orientation is critical engineering their performance.

Methods

LNP preparation

LNPs were formulated via microfluidic mixing using a Precision Nanosystems NanoAssemblr Ignite instrument with a formulation were composed of Dlin-MC3-DMA/DSPC/DMG-PEG2k/Cholesterol at a molar ratio of (50/10/1.5/38.5) with an N:P ratio of 6. Lipids were solubilized in ethanol. The RNA cargo was comprised of a 1:1 molar ratio of mRNA reporter cargo and formulated in a 50mM citrate buffer at pH 3.0. After mixing, nanoparticles were transferred to Slide-A-lyzer G2 dialysis cassettes (10k MWCO) and dialyzed into PBS in at least 200x excess buffer for two hours at room temperature followed by overnight dialysis with gentle stirring in refreshed buffer at 4°C.  LNP size and polydispersity were determined using a Zetasizer Ultra Malvern Panalytical instrument and are presented in Figure 1a.

LNP encapsulation efficiencies were evaluated using the RiboGreen RNA assay kit.

TEM

Quantifoil R2/1 Cu 300 TEM grids (Agar Scientific Ltd, Essex UK) were glow discharged prior to use to render them hydrophilic. LNP suspensions were automatically blotted with contact between the TEM grid surface and filter paper was pre-set to 3 or 6 s. They were then frozen in vitrified ice on these grids in liquid ethane using a Leica EM GP2 automatic plunge freezer and maintained under liquid nitrogen until required for analysis. A blotting time of 6s yielded satisfactory results for samples the 4mg/mL concentration samples presented in this paper.

Samples were maintained at cryogenic temperatures during transfer and analysis using an Elsa™ cryo-transfer holder and temperature controller (Gatan). Imaging was performed on a JEOL 2100F FEG-TEM operating at 200kV and recorded on a K3 direct electron detection camera (Gatan), nominal defocus was applied and an objective aperture inserted to improve image quality. A sample temperature of –172oC (±0.5oC) was maintained during imaging. Images in this document were binned and converted to JPEG format to improve clarity, raw data is available online.

OrbiSIMS analysis

The samples post TEM were kept frozen and were transferred into the Leica VCM bath filled with liquid nitrogen. The samples were fixed to the Leica cryogenic block and introduced into the airlock on the cryostage via the Leica vacuum transfer system. The analysis was carried out at −170°C using a closed-loop liquid nitrogen pumping system (IONTOF GmbH).

For the acquisition of the OrbiSIMS depth profiles, a 20 keV Ar3000+ analysis beam of 20 µm diameter, was used as primary ion beam. Ar3000+ with duty cycle set to 4.2% and GCIB current was 220 pA. The Q-Exactive depth profile was run on the area of 400 × 400 µm using random raster mode with crater size 498 × 498 μm. The cycle time was set to 400 μs. Optimal target potential was set to -57 V in negative polarity and +57 V in positive polarity. Argon gas flooding was in operation in order to aid charge compensation, pressure in the main chamber was maintained at 9.0 × 10−7 bar. The spectra were collected in positive polarity, in mass range m/z 75–1125. The injection time was set to 500 ms and each area analysed lasted 1000 scans, the total ion dose per measurement was 2.62 × 1014 ions/cm2. Mass-resolving power was set to 240,000 at m/z 200.

Calibration of the Orbitrap analyser was performed on the silver sample, using silver clusters following the method described by Passarelli et al. using the Bi1+ liquid metal ion gun as a primary ion beam.

We have used information from a published depth profiling organic molecular standard (Irganox) to estimate the depth from the primary ion dose, which is displayed as a secondary x axis (red) in Figure 1b. 39 The sputter yield from 20keV Ar3000+ on Irganox was corrected for the reduced temperature (-170°C) used in this work compared to the literature values 40 using the calculations developed by Seah et al.

Each depth profile was acquired from the full thickness of the sample and a nanoparticle region, salts were found, appearing in the profile below the particles before the substrate was reached. We do not interpret the relative positions of these ions, instead focussing on the organics which represent the lipids, although we do discuss the role of inorganic ions in secondary ion enhancement and suppression.

While depth profiling is commonly used in SIMS for the analysis of layered systems, 41 it is limited to assessing depth distributions below half of the particle diameter due to the cumulative development of topography in the etching process.42 Therefore the data in this paper that is interpreted is limited to a primary ion dose of 3 × 1013 ions/cm2.

Acknowledgements

The OrbiSIMS facility was funded by the EPSRC Strategic Equipment Grant ‘3D OrbiSIMS: Label free chemical imaging of materials, cells and tissues’ EP/P029868/1. The cryoTEM holder and detector were funded by the EPSRC Research Grant 'A New Correlative Approach for Structure Determination & Imaging of Molecular Materials' EP/W006413/1. Reece Franklin of University of Nottingham assisted with cryogenic sample preparation of replicate analyses. Kerry Benenato of Sail Biomedicines read and commented on the manuscript during its drafting.

Data Availability

Data include in this manuscript are available at https://rdmc.nottingham.ac.uk/

Tables

| Cholesterol |  |
| --- | --- |
| Dlin-MC3-DMA |  |
| DSPC |  |
| DMG-PEG2K |  |

Table 1 Individual component structures.

Supplementary Figures

b)

a)

|  | Size (nm) | PDI | %EE |
| --- | --- | --- | --- |
| LNP Formulation | 91.1 | 0.03 | 92.5 |

Figure S1 Characterization of LNPs. a) z-average size (nm), PDI, and encapsulation efficiency (%EE) as described in the experimental methods. b) DLS size distribution curves.

Figure S2 Positive polarity OrbiSIMS spectra of individual lipid component samples (m/z 75–1125). All spectra are normalised to total ion count and presented on individual intensity scales for clarity.

Figure S3 OrbiSIMS profiles of Formulation 1 displaying profiles from RNA fragments from adenine, guanine and cytosine along with the PEG ions. Uracil was not seen in the spectra. The intensities have been normalised to total ion count and all RNA fragment ions are presented on secondary intensity scale for clarity.

Figure S4 Cryo-OrbiSIMS profiles acquired from on different samples from the same batch of LNPs on different occasions as the data in Figure 1b. The intensity has been normalised to total ion count and the summed PEG ions are presented on secondary intensity scale for both depth profiles for clarity.

Supplementary Table 1 DMG-PEG2k fragments containing only the PEG component, which were summed in the depth profiles.

| m/z | assignment |
| --- | --- |
| 493.2618 | C21H42O11Na+ |
| 495.4408 | C31H59O4+ |
| 507.2775 | C22H44O11Na+ |
| 537.2881 | C23H46O12Na+ |
| 551.3037 | C24H48O12Na+ |
| 565.3193 | C25H50O12Na+ |
| 567.2985 | C24H48O13Na+ |
| 581.3142 | C25H50O13Na+ |
| 609.3454 | C27H54O13Na+ |
| 625.3403 | C27H54O14Na+ |
| 653.3717 | C29H58O14Na+ |
| 669.3665 | C29H58O15Na+ |
| 697.3978 | C31H62O15Na+ |
| 713.3928 | C31H62O16Na+ |
| 741.424 | C33H66O16Na+ |
| 757.4189 | C33H66O17Na+ |
| 785.4502 | C35H70O17Na+ |
| 801.4452 | C35H70O18Na+ |
| 829.4766 | C37H74O18Na+ |
| 845.4713 | C37H74O19Na+ |
| 873.5026 | C39H78O19Na+ |
| 889.4975 | C39H78O20Na+ |
| 917.5291 | C41H82O20Na+ |
| 933.5238 | C41H82O21Na+ |
| 961.5549 | C43H86O21Na+ |
| 977.5498 | C43H86O22Na+ |
| 1005.581 | C45H90O22Na+ |
| 1021.576 | C45H90O23Na+ |
| 1049.608 | C47H94O23Na+ |
| 1065.602 | C47H94O24Na+ |
| 1093.633 | C49H98O24Na+ |
| 1109.628 | C49H98O25Na+ |

References

1.	Hou, X., Zaks, T., Langer, R. & Dong, Y. Lipid nanoparticles for mRNA delivery. Nat Rev Mater 6, 1078–1094 (2021).

2.	Dilliard, S. A., Cheng, Q. & Siegwart, D. J. On the mechanism of tissue-specific mRNA delivery by selective organ targeting nanoparticles. Proc Natl Acad Sci U S A 118, (2021).

3.	Francia, V. et al. A magnetic separation method for isolating and characterizing the biomolecular corona of lipid nanoparticles. Proceedings of the National Academy of Sciences 121, (2024).

4.	Tam, Y. Y. C., Chen, S. & Cullis, P. R. Advances in Lipid Nanoparticles for siRNA Delivery. Pharmaceutics 5, 498–507 (2013).

5.	Arteta, M. Y. et al. Successful reprogramming of cellular protein production through mRNA delivered by functionalized lipid nanoparticles. Proc Natl Acad Sci U S A 115, E3351–E3360 (2018).

6.	Blakney, A. K., McKay, P. F., Yus, B. I., Aldon, Y. & Shattock, R. J. Inside out: optimization of lipid nanoparticle formulations for exterior complexation and in vivo delivery of saRNA. Gene Therapy 2019 26:9 26, 363–372 (2019).

7.	Kulkarni, J. A. et al. Spontaneous, solvent-free entrapment of siRNA within lipid nanoparticles †. Nanoscale 12, 23959 (2020).

8.	Tenchov, R., Bird, R., Curtze, A. E. & Zhou, Q. Lipid Nanoparticles from Liposomes to mRNA Vaccine Delivery, a Landscape of Research Diversity and Advancement. ACS Nano 15, 16982–17015 (2021).

9.	Hamilton, A. G., Swingle, K. L. & Mitchell, M. J. Biotechnology: Overcoming biological barriers to nucleic acid delivery using lipid nanoparticles. PLoS Biol 21, e3002105 (2023).

10.	Wang, M. M. et al. Elucidation of lipid nanoparticle surface structure in mRNA vaccines. Scientific Reports 2023 13:1 13, 1–8 (2023).

11.	Gref, R. et al. Biodegradable Long-Circulating Polymeric Nanospheres. Science (1979) 263, 1600–1603 (1994).

12.	Tenchov, R., Bird, R., Curtze, A. E. & Zhou, Q. Lipid Nanoparticles from Liposomes to mRNA Vaccine Delivery, a Landscape of Research Diversity and Advancement. ACS Nano 15, 16982–17015 (2021).

13.	Heyes, J., Hall, K., Tailor, V., Lenz, R. & MacLachlan, I. Synthesis and characterization of novel poly(ethylene glycol)-lipid conjugates suitable for use in drug delivery. Journal of Controlled Release 112, 280–290 (2006).

14.	Kulkarni, J. A. et al. On the Formation and Morphology of Lipid Nanoparticles Containing Ionizable Cationic Lipids and siRNA. ACS Nano 12, 4787–4795 (2018).

15.	Eygeris, Y., Patel, S., Jozic, A., Sahay, G. & Sahay, G. Deconvoluting Lipid Nanoparticle Structure for Messenger RNA Delivery. Nano Lett 20, 4543–4549 (2020).

16.	Philipp, J. et al. pH-dependent structural transitions in cationic ionizable lipid mesophases are critical for lipid nanoparticle function. Proceedings of the National Academy of Sciences 120, (2023).

17.	Wang, M. M. et al. Elucidation of lipid nanoparticle surface structure in mRNA vaccines. Sci Rep 13, 16744 (2023).

18.	Viger-Gravel, J. et al. Structure of Lipid Nanoparticles Containing siRNA or mRNA by Dynamic Nuclear Polarization-Enhanced NMR Spectroscopy. Journal of Physical Chemistry B 122, 2073–2081 (2018).

19.	Cant, D. J. H. et al. Cryo-XPS for Surface Characterization of Nanomedicines. J Phys Chem A 127, 8220–8227 (2023).

20.	Bamford, S. E. et al. High resolution imaging and analysis of extracellular vesicles using mass spectral imaging and machine learning. Journal of Extracellular Biology 2, (2023).

21.	Lovrić, J. et al. Analysis of liposome model systems by time‐of‐flight secondary ion mass spectrometry. Surface and Interface Analysis 46, 74–78 (2014).

22.	Passarelli, M. K. et al. The 3D OrbiSIMS - Label-free metabolic imaging with subcellular lateral resolution and high mass-resolving power. Nat Methods 14, 1175–1183 (2017).

23.	Yu, M., Kang, X. & Qian, L. Interactions between monovalent cations and polyethylene glycol: A study at micro level. Colloids Surf A Physicochem Eng Asp 680, 132731 (2024).

24.	Fujii, M., Shishido, R., Satoh, T., Suzuki, S. & Matsuo, J. Effects of molecular weight and cationization agent on the sensitivity of Bi cluster secondary ion mass spectrometry. Rapid Communications in Mass Spectrometry 30, 1722–1726 (2016).

25.	Rakowska, P. D., Seah, M. P., Vorng, J. L., Havelund, R. & Gilmore, I. S. Determination of the sputtering yield of cholesterol using Ar: N+ and C60+(+) cluster ions. Analyst 141, 4893–4901 (2016).

26.	Gilbert, J. et al. Evolution of the structure of lipid nanoparticles for nucleic acid delivery: From in situ studies of formulation to colloidal stability. J Colloid Interface Sci 660, 66–76 (2024).

27.	Sebastiani, F. et al. Apolipoprotein E Binding Drives Structural and Compositional Rearrangement of mRNA-Containing Lipid Nanoparticles. ACS Nano 15, 6709–6722 (2021).

28.	Philipp, J. et al. pH-dependent structural transitions in cationic ionizable lipid mesophases are critical for lipid nanoparticle function. Proceedings of the National Academy of Sciences 120, (2023).

29.	Iravani, S. & Varma, R. S. Plant-Derived Edible Nanoparticles and miRNAs: Emerging Frontier for Therapeutics and Targeted Drug-Delivery. ACS Sustain Chem Eng 7, 8055–8069 (2019).

30.	Kanasty, R., Dorkin, J. R., Vegas, A. & Anderson, D. Delivery materials for siRNA therapeutics. Nature Materials 2013 12:11 12, 967–977 (2013).

31.	Witten, J. et al. Artificial intelligence-guided design of lipid nanoparticles for pulmonary gene therapy. Nature Biotechnology (in press) (2024).

32.	Aliakbarinodehi, N. et al. Time Resolved Inspection of Ionizable-Lipid Facilitated Lipid Nanoparticle Disintegration and Cargo Release at an Endosomal Membrane Mimic. ACS Nano 22989–23000 (2024) doi:10.1101/2024.02.22.580934.

33.	Shard, A. G., Spencer, S. J., Smith, S. A., Havelund, R. & Gilmore, I. S. The matrix effect in organic secondary ion mass spectrometry. Int J Mass Spectrom 377, 599–609 (2015).

34.	Seah, M. P., Havelund, R., Spencer, S. J. & Gilmore, I. S. Quantifying SIMS of Organic Mixtures and Depth Profiles—Characterizing Matrix Effects of Fragment Ions. J Am Soc Mass Spectrom 30, 309–320 (2019).

35.	Zhang, J. et al. Cryo-OrbiSIMS for 3D Molecular Imaging of a Bacterial Biofilm in Its Native State. Anal Chem 92, 9008–9015 (2020).

36.	Gilmore, I. & Keenan, M. Orbitrap noise structure and method for noise-unbiased multivariate analysis. Preprint (responding to reviewers) (2024) doi:10.21203/RS.3.RS-3911895/V1.

37.	Zhou, Y. et al. OrbiSIMS depth profiling of semiconductor materials—Useful yield and depth resolution. Journal of Vacuum Science & Technology A 42, (2024).

38.	Havelund, R., Seah, M. P., Tiddia, M. & Gilmore, I. S. SIMS of Organic Materials—Interface Location in Argon Gas Cluster Depth Profiles Using Negative Secondary Ions. J Am Soc Mass Spectrom 29, 774–785 (2018).

39.	Seah, M. P. Universal Equation for Argon Gas Cluster Sputtering Yields. The Journal of Physical Chemistry C 117, 12622–12632 (2013).

40.	Seah, M. P., Havelund, R. & Gilmore, I. S. Systematic Temperature Effects in the Argon Cluster Ion Sputter Depth Profiling of Organic Materials Using Secondary Ion Mass Spectrometry. J Am Soc Mass Spectrom 27, 1411–1418 (2016).

41.	Bailey, J. et al. 3D ToF-SIMS Imaging of Polymer Multilayer Films Using Argon Cluster Sputter Depth Pro fi ling. 3–8 (2015) doi:10.1021/am507663v.

42.	Seah, M. P. Topography effects and monatomic ion sputtering of undulating surfaces, particles and large nanoparticles: Sputtering yields, effective sputter rates and topography evolution. Surface and Interface Analysis 44, 208–218 (2012).