## Sheet2
Application: Tecan i-control |  |  |  | Tecan i-control , 2.0.10.0
Device: infinite 200Pro |  |  |  | Serial number: 2204007130 |  |  |  | Serial number of connected stacker:
Firmware: V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) |  |  |  | MAI, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)
Date: | 2023-02-11
Time: | 16:04:13
System |  |  |  | PPMP62827
User |  |  |  | AD\pazrjk
Plate |  |  |  | Thermo Fisher Scientific-Nunclon 96 Flat Bottom Black Polystyrene Catalog No.: 137101/137103/237105/237107/237108/437111/437112 [NUN96fb.pdfx]
Plate-ID (Stacker)
Label: Label1
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 485 | nm
Emission Wavelength |  |  |  | 530 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 89 | Optimal (100%)
Number of Flashes |  |  |  | 10
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Manual) |  |  |  | 19700 | µm
Start Time: | 02/11/2023 16:04:45
Temperature: 23.2 °C
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 42624 | 41785 | 41721 | 194 | 193 | 199 | 31517 | 31784 | 31807 | 28589 | 27668 | 25480
B | 34623 | 34101 | 34075 | 29328 | 29644 | 30015 | 31911 | 33149 | 31760 | 35529 | 36488 | 33798
C | 31879 | 30918 | 30164 | 30786 | 30648 | 30242 | 33989 | 34629 | 33872 | 32658 | 33570 | 30590
D | 26630 | 27115 | 27150 | 32169 | 32953 | 33453 | 18014 | 18091 | 17859 | 29123 | 29448 | 27509
E | 31820 | 31987 | 31242 | 17448 | 17471 | 17945 | 16023 | 15898 | 15601 | 36038 | 36114 | 34491
F | 37965 | 37555 | 37366 | 15377 | 15440 | 15139 | 15281 | 15820 | 15743 | 36177 | 36597 | 33219
G | 34493 | 35328 | 35194 | 15077 | 14637 | 14916 | 14023 | 12302 | 13972 | 21609 | 21454 | 20204
H | 35137 | 35162 | 34782 | 18115 | 17697 | 17931 | 16440 | 16994 | 16585 | 15207 | 15952 | 14889
[13 empty] | 100% | 42043.3333
[13 empty] | 0% | 195.3333
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 42624 | 41785 | 41721 | 194 | 193 | 199 | 31517 | 31784 | 31807 | 28589 | 27668 | 25480 | N/P | TETA-2Phe |  |  | TETA-2L1 |  |  | TETA-3L1 |  |  | TETA-2L2 |  |  | TETA-3L2
B | 34623 | 34101 | 34075 | 29328 | 29644 | 30015 | 31911 | 33149 | 31760 | 35529 | 36488 | 33798 | 1 | 17.7316 | 18.979 | 19.0411 | 30.3846 | 29.6295 | 28.7429 | 24.2122 | 21.2539 | 24.5731 | 15.5667 | 13.275 | 19.7031 | 25.1537 | 24.5157 | 24.4607
C | 31879 | 30918 | 30164 | 30786 | 30648 | 30242 | 33989 | 34629 | 33872 | 32658 | 33570 | 30590 | 2 | 24.2887 | 26.5851 | 28.3869 | 26.9005 | 27.2303 | 28.2005 | 19.2466 | 17.7173 | 19.5262 | 22.4272 | 20.2479 | 27.3689 | 32.1505 | 34.3513 | 39.5797
D | 26630 | 27115 | 27150 | 32169 | 32953 | 33453 | 18014 | 18091 | 17859 | 29123 | 29448 | 27509 | 4 | 36.8317 | 35.6728 | 35.5891 | 23.5957 | 21.7223 | 20.5275 | 57.4205 | 57.2365 | 57.7909 | 30.8744 | 30.0978 | 34.7312 | 16.5034 | 16.4436 | 17.3517
E | 31820 | 31987 | 31242 | 17448 | 17471 | 17945 | 16023 | 15898 | 15601 | 36038 | 36114 | 34491 | 8 | 24.4297 | 24.0306 | 25.8109 | 58.773 | 58.7181 | 57.5854 | 62.1782 | 62.4769 | 63.1866 | 14.3503 | 14.1687 | 18.0471 | 57.1792 | 58.178 | 57.6188
F | 37965 | 37555 | 37366 | 15377 | 15440 | 15139 | 15281 | 15820 | 15743 | 36177 | 36597 | 33219 | 16 | 9.7456 | 10.7253 | 11.177 | 63.7219 | 63.5713 | 64.2906 | 63.9513 | 62.6633 | 62.8473 | 14.0182 | 13.0146 | 21.0866 | 61.1817 | 59.8579 | 60.8352
G | 34493 | 35328 | 35194 | 15077 | 14637 | 14916 | 14023 | 12302 | 13972 | 21609 | 21454 | 20204 | 32 | 18.0423 | 16.047 | 16.3672 | 64.4388 | 65.4902 | 64.8235 | 66.9574 | 71.0699 | 67.0793 | 48.8299 | 49.2003 | 52.1873 | 64.1281 | 62.3479 | 64.888
H | 35137 | 35162 | 34782 | 18115 | 17697 | 17931 | 16440 | 16994 | 16585 | 15207 | 15952 | 14889
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
N/P | 1 mg/mL (100%) |  |  | 0 mg/mL (0%) |  |  | TETA-3L2, NP 1 |  |  | TETA-3L2, NP 2
1 | TETA-2Phe |  |  | TETA-2L1 |  |  | TETA-3L1 |  |  | TETA-2L2
2
4
8
16
32
| TETA-3L2, NP 4 |  |  | TETA-3L2, NP 8 |  |  | TETA-3L2, NP 16 |  |  | TETA-3L2, NP 32
Note on E1: Tecan.At.Common, 3.9.1.0 Tecan.At.Common.DocumentManagement, 3.9.1.0 Tecan.At.Common.DocumentManagement.Reader, 3.6.1.0 Tecan.At.Common.MCS, 3.9.1.0 Tecan.At.Common.Results, 3.9.1.0 Tecan.At.Common.UI, 3.9.1.0 Tecan.At.Communication.Common, 3.9.1.0 Tecan.At.Communication.Port.IP, 3.9.1.0 Tecan.At.Communication.Port.RS232, 3.9.1.0 Tecan.At.Communication.Port.SIM.Common, 3.9.1.0 Tecan.At.Communication.Port.USB, 3.9.1.0 Tecan.At.Communication.Server, 3.9.1.0 Tecan.At.Communication.SIM.AMR, 3.6.1.0 Tecan.At.Communication.SIM.AMRPlus, 3.6.1.0 Tecan.At.Communication.SIM.Connect, 3.9.1.0 Tecan.At.Communication.SIM.GeniosUltra, 3.6.1.0 Tecan.At.Communication.SIM.Safire3, 3.6.1.0 Tecan.At.Communication.SIM.Safire3Pro, 3.6.1.0 Tecan.At.Communication.SIM.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Common, 3.9.1.0 Tecan.At.Instrument.Common.GCM, 3.9.1.0 Tecan.At.Instrument.Common.Reader, 3.6.1.0 Tecan.At.Instrument.Common.Stacker, 3.9.1.0 Tecan.At.Instrument.Gas.GCM, 3.9.1.0 Tecan.At.Instrument.GCM.Server, 3.9.1.0 Tecan.At.Instrument.Reader.AMR, 3.6.1.0 Tecan.At.Instrument.Reader.AMRPlus, 3.6.1.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3, 3.6.1.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.6.1.0 Tecan.At.Instrument.Reader.SunriseMini, 3.6.1.0 Tecan.At.Instrument.Server, 3.9.1.0 Tecan.At.Instrument.Stacker.Connect, 3.9.1.0 Tecan.At.Instrument.Stacker.Server, 3.9.1.0 Tecan.At.Measurement.BuiltInTest.Common, 3.6.1.0 Tecan.At.Measurement.Common, 3.6.1.0 Tecan.At.Measurement.Server, 3.6.1.0 Tecan.At.XFluor, 2.0.10.0 Tecan.At.XFluor.Connect.Reader, 2.0.10.0 Tecan.At.XFluor.Core, 2.0.10.0 Tecan.At.XFluor.Device, 2.0.10.0 Tecan.At.XFluor.Device.AMR, 2.0.10.0 Tecan.At.XFluor.Device.AMRPlus, 2.0.10.0 Tecan.At.XFluor.Device.GeniosUltra, 2.0.10.0 Tecan.At.XFluor.Device.Reader, 2.0.10.0 Tecan.At.XFluor.Device.Safire3, 2.0.10.0 Tecan.At.XFluor.Device.Safire3Pro, 2.0.10.0 Tecan.At.XFluor.Device.SunriseMini, 2.0.10.0 Tecan.At.XFluor.ExcelOutput, 2.0.10.0 Tecan.At.XFluor.NanoQuant, 2.0.10.0 Tecan.At.XFluor.ReaderEditor, 2.0.10.0
Note on E3: EHC, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) MTP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) INB, XE-1000 728317-J 09/14 (Mar 28 2018/16.41.26) INA, XE-1000 728317-J 09/14 (Mar 28 2018/16.41.26) CUV, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) HCP, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26) LUM, V_2.20_02/2015_LUMINESCENCE (Feb 24 2015/16.09.02) MEM, V_3.00_09/11_MCR (Sep 27 2011/15.05.45) MEX, V_3.00_09/11_MCR (Sep 27 2011/15.05.10) ZSCAN, V_5.31_04/18_InfiniteRX (Mar 28 2018/16.41.26)